Bath Cushion, Bath Mattress and Commode/Bath Hoist Cushion Instructions for use

Flammability

The risk of ignition of Flowform® Commode/Bath Hoist Cushion, Bath Cushion and Bath Mattress is considered to be low.

Infection control/cleaning

The surface of the product should be regularly cleaned manually using soap and water, and allowed to dry.

The product can be cleaned using a variety of proprietary chemical disinfectants, including chlorine based solutions.

The use of Phenols is NOT recommended

Following cleaning or surface decontamination the product should be rinsed to remove surplus residue and allowed to dry completely before use.

Warranty

Flowform® Bath Cushions, Bath Mattresses and Commode/Bath Hoist Cushions are guaranteed against manufacturing defects for a period of 24 months from the date of purchase.

To make a claim under warranty please return to product in a cleaned and decontaminated condition – clearly marked “decontaminated.” The Company reserved the right to reject any product that is not decontaminated.

The product must be returned with full details of name, address, contact number and proof of purchase if possible. The batch number should also be supplied if available.

If we are unable to repair the product and accept that there is a defect, we will replace the product. You will be advised if, in our opinion, the product has been subjected to unreasonable wear and tear. In this case a claim may not be possible.

Product education/support services

Sumed® have a team of fully trained product specialists who are available for assessments in service training and general product advice.

Please contact our sales department for further information or to arrange a visit.

Introduction

Flowform® Bath Cushion, Bath Mattress and Commode/Bath Hoist Cushions are designed to provide comfort and pressure relief during bathing, showering or commode use. They are indicated for use wherever skin protection or additional comfort are required.

The bath cushion and Commode cushion contain a heavy Flowform® liquid in a specific module the shape of which enables pressure redistribution and comfort and will remain in position even when immersed in water. The suction cups can be added for extra security.

The flexible envelope is welded intermittently to maximise the effectiveness of pressure redistribution and prevent any “Hammocking effect.” The Commode/Bath Hoist Cushion is a sealed flexible envelope containing Flowform® liquid. This is a flowable viscous liquid containing spheroids within an inert liquid base. The liquid contained within the module will displace and conform to the shape of the user displacing to provide effective pressure relief.

Flowform® Bath Cushion, Bath Mattress and Commode/Bath Hoist Cushions are designed for Continuity of Care purposes only. They are NOT for use in long term seating.

Handling Instructions

Flowform® Bath Cushion and Bath Mattress

Maximum user weight 20 stones

The cushion or mattress should be placed on the bottom of the bathing surface prior to filling with water. The suction cups should be moistened slightly and used to secure the cushion/mattress in the desired position. It is important that the surface of the bath is clean and dry before securing the cups to ensure an effective seal.

The cushion/mattress should NEVER be stood on by the user and additional care should be taken when being used by an individual who is unable to secure their upper trunk. To remove the cushion/mattress, ease the suction cups off the bottom of the bath. If they become detached they can easily be replaced by pushing back into the corner holes. Replacement cups are available from Sumed®:

Flowform® Commode/Bath Hoist Cushion

Maximum user weight 16 Stones

The commode/bath cushion is supplied with 4 hook and loop fastener straps which can be used to attach the cushion to a variety of surfaces. The straps should be placed on either side, and at the back and front of the cushion. The straps should be placed around the cushion and the existing seat, and fastened securely.

The buckles should be positioned away from the body of the user.

Last revised December 2010

Sumed International (UK) Ltd

Integrity House,

Units 1-2 Graphite Way,

Hadfield,

Glossop,

Derbyshire

SK13 1QH

Telephone:  01457 890980

Fax: 	   01457 890990

sales@sumed.co.uk

www.sumed.co.uk

Integrity House, Units 1-2,

Graphite Way, Hadfield,

Derbyshire, SK13 1QH

Telephone 01457890980

Fax 01457890990

sales@sumed.co.uk

www.sumed.co.uk

Integrity House, Units 1-2,

Graphite Way, Hadfield,

Derbyshire, SK13 1QH

Telephone 01457890980

Fax 01457890990

sales@sumed.co.uk

www.sumed.co.uk

Integrity House, Units 1-2,

Graphite Way, Hadfield,

Derbyshire, SK13 1QH

Telephone 01457890980

Fax 01457890990

sales@sumed.co.uk

www.sumed.co.uk

Integrity House, Units 1-2,

Graphite Way, Hadfield,

Derbyshire, SK13 1QH

Telephone 01457890980

Fax 01457890990

sales@sumed.co.uk

www.sumed.co.uk

Integrity House, Units 1-2,

Graphite Way, Hadfield,

Derbyshire, SK13 1QH

Telephone 01457890980

Fax 01457890990

sales@sumed.co.uk

www.sumed.co.uk